# ECE 201L Circuit Analysis Laboratory

# Lab 1

Author

- Connect a 1000-2000 ohm resistor to the HP 3630A power supply and HP 34401 multimeter.  Record the voltage and current for at least five evenly-spaced, input voltage levels from 1 to 6 volts.

<paste data here, perhaps from spreadsheet>

Record the values on a spreadsheet and plot current vs. voltage. Ohm’s law says that the data should lie on a straight line whose slope is the conductance (1/R).  Find the resistance from your data and compare the value to that obtained by using the DMM.

| Nominal Value | Measured Value | Calculated from slope |
| --- | --- | --- |

<Paste a copy of your Excel plots>

- Build a circuit consisting of a switch, 200-ohm resistor, and red LED. Use proper breadboarding technique: connect the  power/multimeter combination to the power rails, connect flat (short lead) of LED to negative side.  Demonstrate to one of the instructors before applying power.

- Measure the voltage across the power supply and the voltage drop across the resistor and the red LED.  Verify whether Kirchoff’s Voltage Law (KVL) is satisfied for this circuit. Measure the resistance and calculate the current through the circuit.

| Voltage across 9-V battery |  |
| --- | --- |
| Voltage across resistor (V1) |  |
| Voltage across LED (V2) |  |
| Total voltage drop (V1+V2) |  |
| Resistance (ohms) |  |
| Measured current |  |
| Calculated current |  |

- Build (modify) a circuit consisting of LED, micro-lamp and bi-pin lamp controlled by three switches. Demonstrate to one of the instructors before applying power.

- Measure the current through the circuit for the eight possible combinations of the three switches. Verify whether the total current if more than one switch is closed equals the sum of currents measured when only one switch is closed. (KCL)

Define

| # | Device |
| --- | --- |
| A | Resistot and LED |
| B | Micro-lamp |
| C | Bi-pin lamp |

| A | B | C | Measured Current | Calculated current |
| --- | --- | --- | --- | --- |
| 0 | 0 | 0 |  | n/a |
| 1 | 0 | 0 |  | n/a |
| 0 | 1 | 0 |  | n/a |
| 0 | 0 | 1 |  | n/a |
| 0 | 1 | 1 |  |  |
| 1 | 0 | 1 |  |  |
| 1 | 1 | 0 |  |  |
| 1 | 1 | 1 |  |  |

- Connect the motor across the power supply/multimeter. Vary the voltage from 1 to 6 volts, measure the current for the unloaded motor and the stalled motor. To stall the motor, grab the shift tightly with your fingers so that it can not rotate. Do not stall the motor for longer than needed to measure the current. Fasten a small piece of paper on the motor to observe the speed of the motor as a function of the voltage.

| Voltage | Currrent | Stall current |
| --- | --- | --- |